Electromechanical

PAKITA Siren PP type

- Weight : 40 kg

- Head in Aluminum AS10G

- Three-phase asynchronous motor : 1,1 kW -  230V/400V – 2750 rpm

- Sound Power : 105 dBA at 10 meters

- Sound : 570 Hz -  Flat D – 4th octave

- Lifting ring and attachment hole (10mm) with  465 mm (distance between two opposing holes across the axe)

- Options :

  - Control Box or Control Cabinet

  - Single-phase motor 230V – 50 Hz

  - Proximity shut off switch

  - Elevating base  495X330 mm