Electromechanical

Pakita Siren LC type

- Weight : 72 kg

- Head in Aluminum AS10G

- Asynchronous motor : Three-phase 230V/400V – 2750 rpm

- Sound power : 120 dBA at 10 meters

- Sound : 380Hz -  Sharp F - 3th octave

- Lifting ring and attachment hole with  465 mm (distance between two opposing holes across the axe)

- Options :

  - Control Box or Control Cabinet

  - A set of 8 galvanized loudspeaker Horns

  - A set of 8 stainless-steel loudspeaker Horns

  - Proximity shut off switch

  - Elevating base  495X330 mm